## Slide 1: Heart Attack Detection Using IoT
By:
KIRAN BISHT

## Slide 2: INTRODUCTION
Why this topic?
  Create an equipment to be used in everyday life for a medical purpose
  Obtain the basic idea from “Wireless Heart Attack Detector with GPS”
  Most heart attack results from coronary artery disease (the restriction of blood flow to the heart) and it causes instant death of person
Help senior citizens who have health hazardous moment most often
Use a walking stick as the medium asking for medical help as well as the main unit of detection

## Slide 3: EXISTING SYSTEM DRAWBACKS
The existing system are not portable.
Patients are unable to understand analog signals.
The system is complex and hence difficult to operate.

## Slide 4: Objective
Goals of Design:
The wireless heart attack detector captures abnormal heart beat signals.
The alert system warns the user to realize his health condition.
Bluetooth wireless emergency calling system calls for help at the moment of heart attack via mobile phone.
Benefits:
  Electrocardiogram (ECG) signal transmitted wirelessly from the wrist to the main unit.
  Automatic wireless emergency calling system via Bluetooth module
  Warning mode giving the users a chance to avoid the fatal moment actively
  Embedded technology is used to monitor the patient’s condition easily

## Slide 5: HYPOTHESIS
A wireless system is used for monitoring
There are mainly three parts of the system:-
Heart beat sensor, transmitter, receiver
Heart beat sensor is used to detect heart beat
Transmitter transmits the heartbeat count
Data is transmitted as SMS
Transmitter is placed near patient
Receiver receives the data
The receiver is placed near doctor’s side.

## Slide 6: METHODOLOGY
Heart Beat Sensor (Pulse Sensor)
It will convert heartbeats into pulses and generate pulses at the rate of heartbeat and send theses pulses to the microcontroller.
Microcontroller
It keeps track of all the pulses given by the sensor and will continuously count pulses and detects any irregularity in pulse count.
LED
Whenever the heartbeats of a person goes above or below normal or there is any irregularity in heartbeats the led on the watch will glow indicating that there is a chance of heart attack.
Cell phone
In the case when a patient is alone and the microcontroller detects a heart attack the cell phone will receive a signal to make an emergency call

## Slide 7: RESULTS AND DISCUSSIONS
After setting up the system, check all the connections. Once the system is ready upload the source code. After uploading the code place the index finger on the heartbeat sensor. The heartbeat sensor will start monitoring the pulse rate. LCD is used for displaying the calculated pulse rate.
The system has configured maximum range of heart beat. Once the system starts measuring the Human heart beat, if it crosses the set limit then the system will send alert about heart rate. Also the system alerts for lower heart rate.
The reading from sensor will be uploaded to server where data will be store. The readings will be refreshed consistently giving the extension for constant seeing of the patient.

## Slide 8: CONCLUSIONS
Using this approach we can detect or track the heart attacks and save the lives of many people by means of IOT. This system is more helpful for old age people who frequently get heart attacks as using this system they will receive an alert message before a heart attack on their mobile phones.
This exploration is an attempt to propose a system for detecting heart attack by monitoring the heartbeat of person.
The heart beat sensor which is interfaced with microcontroller senses the heartbeat of person and transmits them over internet using Wi-Fi module.
System allows setting limits of heart beat. After setting these limits person can start monitoring the heart beat and whenever the person’s heart beat goes above certain set point they can get an alert on high heart beat and also about chances of heart attack.

## Slide 9: FUTURE SCOPE
Multiple parameters like blood pressure, retinal size, age and weight can be included as controlling parameters in the future
This system can also be developed by using advance GSM and GPRS technology in future

## Slide 10
Thank you